WGGS

An Interactive Solar WIND/SWE Data Analysis Tool 

(Completed new-mode modifications: 03/12/2004)
Richard J. Fitzenreiter

Interplanetary Physics Branch

Laboratory for Extraterrestrial Physics

Matt Holland

Advanced Data Management and Analysis Branch

Information Systems Division

Goddard Space Flight Center

Greenbelt, Maryland 20771

Contents

Chapter 1.  Introduction

a. Overview     3
b. How to use this document.    3 

Chapter 2. How to use the Survey Data Display: Tutorial.   4

Chapter 3. How to use the SWE Level Zero Data Display: Tutorial.
a. VEIS distribution function plots.   5
b. VEIS raw data counts spectra.   6
c. Strahl electron distribution data displays.   7
Chapter 4. SWE electron data processing in the WGGS environment.

a. Converting level zero data to distribution functions.
8
b. Description of the level zero data structure, vsmjf.   9
c. Creation and storage of daily survey files of electron moments, strahl detector data, and electron pitch angle distributions.   11
d. Maintaining the SWE data files and processing system.   13
e. Timeline of SWE instrument mode and bias level changes and other events affecting SWE electron data processing.
14
Chapter 5.  ISEE-1 data access and display with the WGGS tool.   15

Chapter 6. SWE/Strahl New Science-mode (“mode7”) in the Absence of VEIS data   16
a. Basics of new-mode operation.     16
b. Detailed specifications.   17
c. WGGS software modifications.   19
d. Use and function of SWE levelzero display with new mode.   19
Appendix 1. How to start the WGGS tool and description of the startup procedure.   20

Appendix 2. Use and function of the Survey Data Display widgets.   21

Appendix 3. Use and function of the SWE Levelzero Data Display widgets.   25

Appendix 4. How the Survey Data Display works.   28

Appendix 5.  Expanding WGGS to include new survey data sets.   33

Appendix 6. Relative gain balancing of VEIS detectors.   34

Appendix 7.  Treatment of sun glint effects.   36
Appendix 8.  Using the SWE/STRAHL sensor observations of the Sun to recover WIND

spin phase.   38

Appendix 9.  Processed SWE data file coverage of  years 1995 – 2002.   39

Chapter 1.  Introduction
1a. Overview.

WGGS is an interactive software tool designed to facilitate the analysis of solar wind data from a variety of experiments. The tool utilizes widget interfaces and was originally intended for the analysis of experimental data from the ISTP Global Geospace (GGS) mission  spacecraft, WIND and POLAR. Hence, the acronym WGGS.  The tool provides access and display capability for multiple and diverse data sets on a common time scale and is not limited to any particular spacecraft or experiment.  The tool is written in the IDL language and consists of analysis procedures interactively  executed through the widget interfaces. It has the flexibility to simultaneously display and analyze data sets with different time scales.  The time scales may range from multiday survey plots down to the highest time resolution detailed data. For example, 3sec electron velocity distribution function data can be viewed and analyzed in conjunction with 24 hour plots of electron plasma parameters such as density and temperature. The tool can be readily adapted to include new and specialized analysis modules as well as new data sets. All WIND/SWE data processing is also performed within the tool environment as outlined in Chapter 4.

Use of the interactive part of the tool begins with the main widget interface which accesses data and then displays the data versus time in panels stacked one upon the other. The data displayed in these plots are referred to as survey data and this widget interface is referred to as the Survey Data Display, which provides entry to the other tool functions, including the level zero data interfaces, which are additional, specialized widget interfaces to access and display the high time resolution data which may complement the survey data being displayed.

1b.  How to use this document.

This document is intended to be read as the tool is being used. Chapters 2 and 3 are in tutorial form with specific instructions for commands to enter and buttons to push in the widget interfaces. This hands-on approach should facilitate learning the tool much faster than simply referring the reader to figures of widget buttons on paper. It is important therefore to follow the tool-use instructions exactly in the tutorial that follows. The widget interfaces covered by the tutorial have HELP buttons which bring up on-line documentation which also appears in Appendices 2 and 3. More detailed information about the tool functions are found in Appendices 4 - 7.  Appendix 1 contains essential information on starting the tool and tailoring the startup file to the user’s machine. 

This document is also intended to be an overview of the SWE data processing methods and procedures associated with the conversion of SWE level zero data to the final data products accessed by the WGGS tool. The very important Chapter 4 provides an overview of the data processing system as well as instructions on maintaining the input level zero data and the final survey data files. Appendix 9 contains bar charts of the completed processed data coverage for the period 1995 – 2002.

Chapter 2. How to use the Survey Data Display: Tutorial.

In order to provide hands-on experience to a new user, the reader should now run the following tutorial session. 

First, install the latest version of the WGGS tool, wggs00/ (where 00 designates version number), and the companion directory, wggs_tutor/, on the user machine directory from which you wish to run the tool. The directories wggs00/  and wggs_tutor/ can be found as  tar files on the ftp site of machine leprjf:ftp/pub/exports/.  Secondly, in file wggs_tutor/startup.pro, edit two lines at the beginning of the file, entering the name of the current version name of the tool, and the full path to the tool location. The lines to be edited for the user’s particular machine in file wggs_tutor/startup.pro are 

wggs_version  = ‘wggs10’   

; name of current version of the WGGS tool

wggs_dir = ‘/export/home/rjf/’  
; path name of directory of wggs_version

Then follow these instructions:

1. 
cd  to the directory in which wggs00/ and wggs_tutor/ are located and initiate an IDL session as follows:


 % idl  wggs_tutor/startup


2.
The WGGS tool is started by typing at the IDL prompt:

 
IDL>  wanal
which brings up the main Survey Data Display. 

IMPORTANT: Position the Survey Data Display in the upper part of the screen 

and the command window used to start the tool at the bottom of the screen so that 

part of the command window can be seen at all times.

The set of instructions which follow are user actions on widgets in the Survey Data Display:

3. Type 19990510 in yyyymmdd field. (Data for this date are included in wggs_tutor/).
4. Click swe_moments and swe_fpitch in data types box.

5. Click READ
6. In pop-up widget, click N density, T temperature, U flow speed, A anisotropy, Q heat flux, th_q, ph_q, B magnetic field, th_b, ph_b, cos(Q.B), Spin avg f(en,t), 94.3

7. Click Save 0
8. Click Plot 0   (Selected plot variables are plotted in stacked panels.)

9. Click left mouse button at any time on any plot panel.

10. Click middle mouse button at any later time. 

11. In pop-up widget, click Plot.  (The selected time interval is plotted.)

12. Click 5 in Smooth droplist widget.  (Median smoothing.)

13. Click 0 in Smooth droplist widget.

14. Click Minmax in Y-axis droplist widget.  (Y scale range changes to minmax.)

15. Click Preset in Y-axis droplist widget.

16. Click On in Time mark droplist widget.

17. Click left mouse button on plot panel. (Vertical line is plotted at selected time.)

18. Click Off in Time mark droplist widget.

19. Click left mouse button on plot panel. (No new vertical time mark line is plotted.)

20. Click Remove button. (Vertical time mark lines disappear.)

21. Click Previous in Time interval button set. (Previous time interval plotted.)

22. Click Current in Time interval button set. (Last time interval selected by mouse.)

23. Click Original in Time interval button set. (Original time interval is plotted.)

24. Click Current in Time interval button set. (Original has become current interval.)

25. Click 3 in Nr days droplist widget.

26. Click swe_moments, swe_fpitch, and swe_strahl in data types box.

27. Click READ. (Reading swe_strahl data will take a little longer than other types.)

28. In pop-up widget, click strahl energy spectrum, strl_max_cts, strl_widthmx, 251, N density, B magnetic field, th_b, ph_b.
29. Click Save 1.
30. Click Plot 1  (Selected plot variables are plotted in stacked panels.)

31. Click 3 in Smooth droplist widget.  (Removing noise pixcel changes color scale.)

32. Click Quit  (Survey Data Display interface disappears and IDL prompt appears..)

33. Type wanal at the IDL prompt (Survey Data Display interface reappears.)

34. Click Current (Last plot reappears.)

A more detailed description of the Survey Data Display can be accessed by clicking on the HELP button. The on-line HELP documentation can also be found in Appendix 2.

Chapter 3.  How to use the SWE Level Zero Data Interface: Tutorial.

3a. VEIS distribution function plots.

The tutorial continues in this section with access of the SWE LZ Data Display interface from the Survey Data Display in which survey data is plotted.  SWE data is used in this tutorial, but any type of survey data that overlaps the time for which level zero data is desired may be used. The starting point for this part of the tutorial is step 34 of the previous section. 

35. Click on the SWE level zero button of the Survey Data Display interface.

(The SWE LZ Data Display interface appears with the strahl energy spectrum color image from the Survey Data Display plotted in the top panel.)

36. Click Parent to return to Survey Data Display.

37. Click SWE levelzero on Survey Data Display to return to SWE LZ Data Display.

38. Click on Strahl from the droplist (first widget, second row).

(The strahl line plot replaces the strahl image in the top panel.)

39. Click on 19950511 in the date droplist (fourth widget, first row.)

40. Click Open LZ. (See Chapter 4a for details on the result of this action.)

Steps 41 – 46 are the various ways to select a time for a distribution function plot:

41. Click left mouse button on top panel at any time of date, 19950511.

(Default plot, f contours and f cuts, appears in one lower plot windows.)

42. Click + and/or – buttons of the Spin group (second row). 

(Distributions appear sequentialy in lower three plot windows with each click.)

43. Click auto in Spin group. (Three consecutive plots appear.)

44.  Click + and/or – buttons of the Mfrm group. (Increments major frame.)

45. Type 300 in Mfrm, hit return, then click in any of three windows. (Selecting mjf.)

46. Type 024850 in hhmmss field, hit return, then click in window. (Selecting time.)

47. Select each plot type in the droplist (third widget from the right, second row), clicking in a plot window after each selection to see the plot.

48. Select default plot type f fcuts and click in a plot window.

49. Click 10 in vstps droplist (second widget from right, second row) and click in a plot window.

50. Click 16 in vstps droplist (second widget from right, second row) and click in a plot window.

51. Click 3 in pbin droplist (last widget on right, second row) and click in plot window.

52. Click 15 in pbin droplist  and click in plot window.

53. Click 9 (default) in pbin droplist  and click in plot window

When a VEIS distribution function is plotted, then the VEIS raw  counts spectrum and the STRAHL sensor data for the selected major frame and spin may also  be displayed. Clicking on the Veis data brings up another widget interface, SWE Veis Counts Data, in which the VEIS raw counts are plotted vs electron speed. The SWE Veis Counts Data interface also provides various diagnostic and calibration functions on the data and which are explained Chapter 3b. Clicking on the Strahl data button brings up yet another widget interface, SWE Strahl Counts Data, which is described in Chapter 3c. The use and function of all the widget buttons in the SWE LZ Data Display  are explained by clicking on the HELP button and also in described in Appendix 3.

3b.  VEIS raw data counts spectra.

The tutorial continues with the SWE Veis Counts Data interface. The starting point is step 53 of the last section in the SWE LZ Data Display. 

54. Click left mouse button on top panel at any time of date, 19950511 in the SWE LZ Data Display.

55. Click on the Veis data button which brings up the SWE Veis Counts Data interface. (Default plot of raw electron counts vs electron velocity step is displayed. Sun glint points are highlighted but are eliminated in final distribution function plots and in creation of daily moments and pitch angle files.)

56. Click (in turn) on buttons Cts_sector, Cts_phi, and Cts_pitch. (Raw data counts are plotted vs sector, sun phase angle, and pitch angle, respectively, at a single velocity step.)

57. Click on Vstep + or – to increment velocity step for any of the plots selected in previous step.

58. Click on Spin + or – to increment spin (seven spins per major frame).

59. Click on Mfrm + or – to increment major frame (major frame = record).

60. Click on Sect + or – .(No effect for plots of counts vs sector, sun phase angle, or pitch angle.)

61. Click Det angles. (Plots VEIS look angles phi (azimuth) and theta (elevation), and velocity sweep steps during one 3s spacecraft rotation.)

62. Click (in turn) Cts_phi all steps and Cts_sun all steps. (Plots raw counts for all velocity steps vs azimuthal look angle, phi, and vs sun phase angle, respectively.)

63. Click  Cts_step (def). (Plots raw counts.)

64. Click Cts_step /correctd. (Plots counts corrected for relative gain factors, removal of sun glint samples, and background adjustments.)

65. Click f_step. (Plots phase density converted from corrected counts.)

66. Click  f w/ patch, scpot. (Plots distribution function with Adolfo Vinas fitted 3D gaussian patch over thermal core using coefficients from moments file which also corrects for spacraft potential.)

67. Click f w/ new patch. (Same as  previous step except fitted patch coefficients are computed on-line.)

68. Click Cts_step (def). (returns to default plot.)

69. Click Sect + six times and observe the spin count advance.

70. Click Spin + seven times and observe the major frame count advance.

71. Click Mfrm + and observe the major frame count advance

72. Click on Parent  to bring forward the SWE LZ Data Display.

73. Click on Veis data  which brings back the SWE Veis Counts Data interface.

74. Click on Parent  to return to the SWE LZ Data Display.

3c.  Strahl electron distribution data display.

The tutorial continues with the SWE Strahl Counts Data interface. The starting point is step 74 of the last section in the SWE LZ Data Display.
75. Enter 112 in the Mfrm widget field in the SWE LZ Data Display and hit Return (keyboard).

76. Click in one of the three lower plot windows.

77. Increment Spin + or – to 1.

78. Click Strahl data. (SWE Strahl Counts Data interface appears with STRAHL image at  154 eV.)

79. Click (in turn) Counts vs phi, f vs phi, and Count vs pa, f vs pa ,where pa = pitch angle. (These plots are for strahl detectors 0 2 4 6 8 10.)

80. Click the 1 3 5 7 9 11 button and repeat the previous step.

81. Click f vs pa (all detectors). 

82. Click Counts vs phi index.

83. Click Compare strahl & veis.

84. Click  Increment spin + or – and watch Spin field change and plot at next energy appear.

85. Click f(phi, theta) (def) .

86. Click Search for current strahl step + or - . (The next occurrence of major frame and spin with the same energy step as the current one is plotted.)

87. Enter 209 in the Increment recn field and hit Return. (Strahl image should appear with Sun showing as intense image at 180 degrees.)

88. Toggle Sun mask button and watch strahl appear when Sun mask is On.

89. Click on Parent return to SWE LZ Data Display.
90. Click Strahl data in SWE LZ Data Display to bring back SWE Strahl Counts Data interface.

This ends the tutorial.

Chapter 4. SWE Electron Data Processing in the WGGS Environment.

4a. Converting level zero data to distribution functions.

This section outlines the data processing steps performed by the WGGS tool in converting the raw level zero data into VEIS and STRAHL distribution function plots.  When a level zero file is opened by clicking on the Open LZ button in te SWE LZ Data Display, procedure lzinput.pro is called which reads or makes available the following:

1. lzinput.pro
a.) telemetry index map which unpacks the science and housekeeping data 

      blocks from the level zero data file;

b.) spin phase look angles of each detector, energy step, and sector and the

      corresponding unit vectors;

c.) relative gains for the set of six detectors for the current date;

d.) definition of swest.patch_include(n_vdets,n_sectors,n_vesteps), which determines which detector, sector, and energy steps are to be omitted (in cases of very low or unreliable detector response) from the calculation of  the A. Vinas’ gaussian patch over the core of the distribution function (see documentation in lzinput.pro);

e.) magnetic field data for the entire day from the MFI experiment (first preference is 3s data, which if not available, then key parameter data used);

f.) WIND orbit and attitude data for the entire day;

g.) SWE ion key parameter data for the entire day;

h.) level zero file header for the current day;

i.) which science mode (determined by reading the first level zero record);

j.) background counts data file (only for dates prior to 26 October, 1997);

k.) sun glint map appropriate for the current date.

Each time a VEIS or STRAHL data plot is made, raw data corresponding to the selected input time is unpacked from the levelzero file record and converted to the appropriate plot variables. Selecting a time by any of the various methods described in the previous section (e.g., clicking on a plot window, etc ) initiates execution of the following sequence of procedures: 

2. proc_fw.pro  :

a.) The selected levelzero file major frame and spin number are determined from the selected input time (there are seven spin blocks of data per major frame; the terms major frame and level zero record are used interchangeably).

b.) The procedure proc_rec.pro unpacks the selected major frame of data from the level zero file and stores the VEIS and STRAHL data in the structure, vsmjf, as  described below in Cahapter 4b.

c.) The magnetic field data is obtained for the selected time.

d.) The VEIS distribution function array, fblk(ndets, nvsteps, nsectors), for the selected time is formed, where ndets  =  number of detectors, nvsteps  =  number of velocity steps, nsectors  =  number of sectors.  The gaussian patch over the thermal core of the electron distribution function is determined (using a method by Adolfo Vinas).

e.) The procedure fparr.pro prepares the data for display, such as contouring.

f.) The procedure do_lzplot.pro calls the actual plot procedures.

3. proc_rec.pro
a.) The selected major frame (containing seven spins) is read. Since only one spin per major frame is time-tagged, the next major frame is also read for the purpose of computing spin period using the number of spacecraft rotations between time tags. 

b.) The science mode of the instrument is determined for the selected record.

c.) The unpacking of the selected major frame of level zero data is done by procedure mode1.pro for science mode = 1 and science mode = 4, and by procedure mode6.pro for science mode = 6 in which the data structure, vsmjf, is formed. Data structure vsmjf contains the selected major frame (seven spins) of unpacked levelzero data in both raw counts and phase density form, as well as necessary conversion  and calibration data,  and is described in Chapter 4b. 

4b.  Description of the Level Zero Data Structure, vsmjf.

The structure vsmjf is defined in the procedure wggs00/swelz/mode1.pro or wggs00/swelz/mode6.pro, depending on science mode, and contains all the raw data counts, the converted phase densities, and the instrument conversion factors for a single major frame of data, which is seven spacecraft rotations. Also included are the sweep energy steps and phase angles for all data samples. The structure vsmjf is shared with other program elements through the common statement (given below) and the help,vsmjf,/str describes the tags to vsmjf. Detailed information can be found in the documentation included in the programs, mode1.pro or mode6.pro.
IDL> common lzstuff,lzfile,lundat,recn,fh,lz,ihk,sp,vsmjf,veis_hvtbl
IDL> help,vsmjf

VSMJF (LZSTUFF) STRUCT    = -> <Anonymous> Array[1]

IDL> help,vsmjf,/str
** Structure <801850>, 68 tags, length=322936, refs=1:

   DESCR           STRING    'veis-strahl data samples'

   TJD             LONG              1308

   SEC             DOUBLE           79860.701

   HOUR            LONG                22

   MIN             LONG                11

   ISEC            LONG                 0

   MS              INT            701

   MJFCNT          LONG               216

   SCIMODE         INT              6

   SPINP           DOUBLE           3.0630667

   N_VDETS         LONG                 6

   N_VESTEPS       LONG                16

   N_SECTORS       LONG                 6

   N_SPINS         LONG                 7

   N_STRDETS       LONG                12

   N_STRPHIS       LONG                28

   DELTASP         DOUBLE        0.0097656250

   DEADTIM_ELE     DOUBLE           0.0000000

   DEADTIM_ION     DOUBLE           0.0000000

   DELT_ELE        DOUBLE         0.025912760

   DELT_ION        DOUBLE         0.025912760                

   GEOMF           FLOAT     Array[6]

   LZRECN          LONG               870

   VEIS            INT       Array[6, 16, 6, 7]

   VEIS_B          FLOAT     Array[6, 16, 6, 7]

   CVEIS           FLOAT     Array[6, 16, 6, 7]

   CVEIS_B         FLOAT     Array[6, 16, 6, 7]

   FVEIS           FLOAT     Array[6, 16, 6, 7]

   FVEIS_B         FLOAT     Array[6, 16, 6, 7]

   VEISTEP         BYTE      Array[16, 7]

   ELEION_SWEEP    INT       Array[7]

   ELEION          INT       Array[7]

   ALTSPIN_ENABLED INT       Array[7]

   PRIMALT_TBL     INT       Array[7]

   SECVEIS         DOUBLE    Array[16, 6, 7]

   PHIVEIS         DOUBLE    Array[6, 16, 6, 7]

   THEVEIS         DOUBLE    Array[6]

   VUNIT           DOUBLE    Array[6, 16, 6, 3, 7]

   STRL            BYTE      Array[12, 28, 7]

   FSTRL           FLOAT     Array[12, 28, 7]

   STRLSTEP        BYTE      Array[7]

   NUMSTRLSTPS     INT             32                        

   IBCI_STRL       INT       Array[28, 7]

   SECSTRL         DOUBLE    Array[28, 7]

   PHISTRL         DOUBLE    Array[28, 7]

   THESTRL         DOUBLE    Array[12]

   VUNITSTRL       DOUBLE    Array[12, 28, 3, 7]

   BXYZ_STATUS     BYTE      Array[7]

   BXYZ_IND        BYTE      Array[7]

   BXYZ_RANGE      INT       Array[7]

   BXYZ_PHASE      INT       Array[7]

   BXYZ_BX         INT       Array[7]

   BXYZ_BY         INT       Array[7]

   BXYZ_BZ         INT       Array[7]

   SUNSEC_VSBL     DOUBLE    Array[7]

   SUNTIM_VSBL     DOUBLE    Array[7]

   PB5TIM_VSBL     LONG      Array[3, 7]

   VQLTY           LONG      Array[7]

   SQLTY           LONG      Array[7]

   XVEIS           INT       Array[6, 16, 6, 7]

   RELGAIN         FLOAT     Array[6]

   BDATE           STRING    '00000000'

   BCTS            FLOAT     Array[6, 16, 6, 7]              

   RELGAIN_BACKG   FLOAT     Array[6]

   CTS_FACTOR      FLOAT     Array[6, 16, 7]

   STRL_CTS_FACTOR FLOAT     Array[12, 7]

   BACKGROUND_TEST INT              0

   SET_DET2_EQ_DET3  INT       =        0 

4c.  Creation and storage of daily survey files of electron moments, strahl detector data, and electron pitch angle distributions.

The end product of SWE data processing consists of  1) daily survey files, such as moments, VEIS pitch angle distributions, and STRAHL data versus time, which are  displayed by the WGGS tool as described in Chapter 2, and 2) detailed distribution function data collected over a single 3s spacecraft rotation which are processed and displayed directly from the raw level zero data as described in Chapter 3. While distribution function data are processed and displayed interactively  using the WGGS tool, the survey data files are created in a batch mode in the WGGS tool environment. Both interactively plotted distributuions and daily survey plots both use the same analyses and tool procedures described in Chapter 4a to form the data structure, vsmjf,  described in Chapter 4b, on which both data products are based.

These are the steps to follow in creating the daily survey files from level zero data files:

1) Start an IDL session using wggs_startup.pro as described in Appendix 1.






% idl wggs_startup
2) Run the procedure  

IDL> .r lzdates_to_process
    and follow the prompts. The program lzdates_to_process.pro does the following: 

a) reads the dates of the levelzero files in the swe_levelzero data path that you specify in the pop-up widget that appears; 

b) creates a file of those dates to be processed (for “mode7” it’s the lzpitch_dates file mentioned in the “new operational-mode note” below);

c) prompts you to choose which type of processing and then prompts you with the name of the processing program to run, i.e., (see below)
moments :    




mom     
 .r  lzmom
pitch angle distribution at each energy:
pitch
  
 .r  lzpitch
strahl:





strahl
 
 .r   lzstrahl

60 degree pitch angle average:

pitchavg
 .r   lzpitchavg
New operational-mode (mode7) note: All “old-mode” (before mode7) data products have been finalized as of the printing of this WGGS documentation-version.  When processing “new-mode” (mode7) data products, select the ‘pitch’ processing-type when running the lzdates_to_process procedure (or, for small processing runs, directly create/modify the lzpitch_dates file in your WGGS-registered [via startup file] sav_dir directory by listing the yyyymmdd values of the dates-to-process—one per line, no extraneous characters [headers, spaces, extra newlines, etc].)  This is due to the unification of all new-mode data-product processing into a single processing routine (based upon the original old-mode lzpitch.pro code) called lzswenewmode.pro.  After selecting the dates-to-process, simply execute:

‘.r lzswenewmode’ from the IDL command-line (follow prompts).

The result is a *.mom, *.pit, and *.str data-product file for each selected date.

The processing program names, the  corresponding data type names, output file name extensions, and the output file data paths are as follows:

Processing program
Data type

Extension
leprjf.gsfc.nasa.gov:data path
lzmom.pro

swe_moments

.mom

/data7/swe/moments/
lzpitch.pro

swe_fpitch

.pit

/data9/swe/ptch/
lzstrahl.pro

swe_strahl

.strahl

/data8/swe/strl/

lzpitchavg.pro

swe_fparaperp

.pitavg

/data5/swe/ptchav/

New-mode (mode7) processing: (see note above)

lzswenewmode.pro 
all new-mode

all ext.

/data3/swe/<data-type>
The files created by these processing programs are all saved in the subdirectory mpnew whose full path is specified in the user’s startup file wggs_startup.pro. This is a temporary staging location. After processing, the files must be moved to the  locations on the data server machine given by the data path names in the table above.

Each processing program listed above contains documentation and is located in subdirectory  wggs00/swelz , where wggs00 is the top directory of the WGGS tool.

Data calibration files used by these programs in processing the raw counts, such as relative detector gains and sun glint maps, are included within the WGGS tool.

Other ancillary data required by one or more of these processing programs are:

Ancillary data type

Description
    swe_ionkp

SWE ion key parameter density and bulk flow speed

    mfi_mag3s

MFI 3s magnetic field data

    mfi_magkp

MFI key parameter data (used only if 3s data unavailable)

    wind_orbit

WIND spacecraft orbit and attitude data

The data paths for these ancillary data are given in the startup file wggs_startup.pro. The WGGS tool accesses the MFI data files by mounting a disk exported by MFI Co-Investigator Adam Szabo.  The SWE key parameter data files, the WIND orbit and attitude files, and the SWE levelzero data files are sent electronically to the server machine leprjf.gsfc.nasa.gov each day.  Periodically (approximately once each week) these files must be moved from the anonymous ftp site to their permanent location on leprjf.gsfc.nasa.gov.  This is done automatically by running the following program on machine leprjf.gsfc.nasa.gov and following the program prompts:

leprjf.gsfc.nasa.gov%  idl wggs_startup
IDL>    .r move_wind_files
The SWE levelzero files received electronically may be removed from leprjf.gsfc.nasa.gov only after the CD-ROMs containing the SWE LZ data have been received and checked.

4d. Maintaining the SWE data files and processing system.

There are three critical functions that must be performed periodically.

1. A copy of the current version of the WGGS tool should be kept on the server machine leprjf.gsfc.nasa.gov as well as any other machine on which the tool is to be used. Current backups of the tool should be kept.

2. The ancillary files discussed in the previous section and the SWE levelzero files, all of which are currently sent to the anonymous ftp site on machine leprjf.gsfc.nasa.gov each day should be moved to their permanent disk location on leprjf.gsfc.nasa.gov by running the program move_wind_files.pro as discussed in the previous section.

3. Backups should be maintained of the following file systems containing SWE data and necessary ancillary data on leprjf.gsfc.nasa.gov using the DLT IV ½ inch cartridge tapes: (See next page for complete new-mode listing.)

leprjf.gsfc.nasa.gov file system
Program leprjf.gsfc.nasa.gov:/opt/local/Backup/
/data7



data7_moments_dump0

/data8



data8_strahl_dunp0

/data9



data9_pitch_dump0

/data5



data5_swe_ancil_dump0

/data2



data26_dump0  (level zero data)

/data3



data13_dump0  (new-mode data)

4e. Timeline of SWE instrument mode and bias level changes and other events affecting SWE electron data processing.

Date



Mode

Significant changes


19941130 – 19950801
 1







19950510
VEIS bias increase.

19950802 – 19950807
 2

19950808 -  19950916
 1

19950917 – 19950918
 2

19950919 – 19951127
 1







19951121
VEIS bias increase.

19951128 – 19960125
 2

19960126 – 19960321
 1

19960322 – 19960513
 2







19950513
VEIS bias increase.

19960514 – 19960813
 1







19960813
VEIS bias increase.

19960814 – 19961108
 2

19961109 – 19961113
 1

19961114 – 19970114
 2

19970115 – 19971014
 1

19971015 – 19990125
 4







19971028
VEIS detector response









degrades more rapidly.







19980514
VEIS bias increase.







19980728
VEIS bias increase.







19980811
VEIS bias increase.







19981026
Lowest energy steps









of detectors 0, 2 unusable; 









cause unknown.







19981124
VEIS bias increase.

19990126 – 20020715


19990326
VEIS bias increase.

 





19990405
VEIS bias increase.







20001023 
VEIS bias increase.







20001023 
STRAHL bias increase.







20011029 
VEIS bias increase to









highest possible level.

20011119 
VEIS bias supply fails.

20020815
VEIS turned off; new STRAHL operational-mode implemented.  This

  marks the beginning of “new-mode” (mode7) mission operation.
Chapter 5.  ISEE-1 Data Access and Display with the WGGS Tool.

<No documentation yet for this partially-developed tool functionality.>

Chapter 6.  SWE/Strahl New Science-mode (“mode7”) in the Absence of VEIS Data.

6a. Basics of new-mode operation.

Background Facts:

1) WIND is a spinning spacecraft with a spin-period of about 3 seconds.  The spin-axis is oriented in the –Z GSE direction (s/c spin-phase given in the – GSE direction).  Each successive spin is assigned a successive spincount value (0-255, “rolling over” periodically) and one spin per major-frame (LZ record) recieves a time-tag reference.

2) A sun-pulse is generated by the spacecraft’s on-board processor when the s/c +X-axis points at the Sun (+X GSE direction)—the absolute s/c spin-phase (= 0o) reference.

3) A pseudo sun-pulse is then generated by the SWE DPU at a programmable angle with respect to this reference.  All SWE/Strahl processing is referenced to this angle. 

4) Each full s/c spin is divided into 4096 “clicks” of the s/c spin-phase clock.  A Basic Counting Index (BCI) is defined to be 42 clicks in this mode, providing the general construct for referring collected data back to a time-and-s/c-spin-phase-angle.

     The “mode7” SWE/Strahl operation is ONLY different than mode6 in the handling of Strahl and VEIS data.  It does NOT constitute a new science-mode in the sense of CDHF processing of KP data or in its effect on any other instrument.  In fact, the only indicator of this mode’s activity is a single (unused until now) byte in one of the housekeeping blocks (described in detail below).  Otherwise, the new mode represents only a rearrangement within telemetry already allocated to SWE/Strahl and SWE/VEIS.

     Acculmulation of mode7 data takes place over three (ALWAYS consecutive) spins, and a total energy-spectrum consisting of 15 energy-steps is generated during these three spins.  There are usually gaps of one or more spins between spectra, but the spincount values at the beginning of each spectrum (the “spincount-begin” values) are given in the header of each spectrum in the LZ record (described in detail below).  Azimuth-angle coverage is provided by the spinning of the s/c; each spin divided into 8 sectors, each energy being visited exactly once in each sector.  Elevation-angle coverage is provided by the fixed angular spread of the 12 (pairwise-binned into 6) strahl detectors (all having the same azimuth orientation at any given time—elevation angles given in detail below).

     In the first spin of a spectrum (spincount = <spincount-begin>+0) energy steps 0-4 are repeatedly visited in each of the 8 sectors.  The first BCI (BCI = 0) of sector 0 of any spin comes exactly one BCI after the SWE DPU’s delayed pseudo sun-pulse.  Including this BCI, sector 0 subtends 12 BCIs (as do all sectors, but with different BCI values):

Sector 0

	BCI
	0
	1
	2
	3
	4
	5
	6
	7
	8
	9
	10
	11

	step
	S
	0
	S
	1
	S
	2
	S
	3
	S
	4
	S
	S


Where the ‘S’ symbol in the ‘step’ row represents the settling of HV power supplies, and 0-4 on this row represent acculmulation of counts at the 5 energy steps visited in this sector.  The same pattern is exactly repeated in sectors 1-7 of this spin.  In the 8 sectors of spin spincount = <spincount-begin>+1 the same pattern is seen, except that steps 5-9 replace 0-4 respectively; steps 10-14 replace 0-4 in the 8 sectors of spincount = <spincount-begin>+2.  This completes the acculmulation of a full energy-spectrum.

6b. Detailed specifications.

Azimuth angles:

The interpretation of strahl data requires detailed angular information.  Each energy-step of each sector has a different angular position at which counts are acculmulated.  Basic angular information is provided as a s/c spin-phase angle, instrument position given in payload coordinates.  As mentioned above, the s/c spin-axis is aligned with the –Z GSE axis, so that spin-phase/payload angles are defined opposite to GSE conventions (but +X-axis is in the same direction either way).  Hence a 180-degree rotation about the x-axis transforms “payload” spin-phase angles into GSE azimuth angles.

The following table provides degree measurements at the beginning of each BCI in a full spin (assumed to be spincount = <spincount-begin>+0—make energy-step replacements described above for the two subsequent spins), with columns to be interpreted as follows (‘*’ indicates counts acculmulated this BCI):

BCI: Basic Counting Index (42 clicks) begun at these angles.

SECTOR: Integer value (0-7) giving sector number for this BCI.

STEP: Integer value (0-4) giving HV step for this BCI (first spin only).

STRAHL: S/c spin-phase look-angle of strahl detector (payload coords.).

FLIPPED: Strahl detector look-angle in GSE coords. (after rotation).

VELOCITY: Strahl particle-velocity angles in GSE (after 180o phase-shift).

      BCI SECTOR STEP STRAHL FLIPPED VELOCITY

        0      0    0 200.7   159.3    339.3 

        1      0    0 204.4*  155.6*   335.6*

        2      0    1 208.1   151.9    331.9 

        3      0    1 211.8*  148.2*   328.2*

        4      0    2 215.5   144.5    324.5 

        5      0    2 219.2*  140.8*   320.8*

        6      0    3 222.9   137.1    317.1 

        7      0    3 226.6*  133.4*   313.4*

        8      0    4 230.3   129.7    309.7 

        9      0    4 234.0*  126.0*   306.0*

       10      0    5 237.6   122.4    302.4 

       11      0    5 241.3   118.7    298.7 

       12      1    0 245.0   115.0    295.0 

       13      1    0 248.7*  111.3*   291.3*

       14      1    1 252.4   107.6    287.6 

       15      1    1 256.1*  103.9*   283.9*

       16      1    2 259.8   100.2    280.2 

       17      1    2 263.5*   96.5*   276.5*

       18      1    3 267.2    92.8    272.8 

       19      1    3 270.9*   89.1*   269.1*

       20      1    4 274.6    85.4    265.4 

       21      1    4 278.2*   81.8*   261.8*

       22      1    5 281.9    78.1    258.1 

       23      1    5 285.6    74.4    254.4 

       24      2    0 289.3    70.7    250.7 

       25      2    0 293.0*   67.0*   247.0*

       26      2    1 296.7    63.3    243.3 

       27      2    1 300.4*   59.6*   239.6*

       28      2    2 304.1    55.9    235.9 

       29      2    2 307.8*   52.2*   232.2*

       30      2    3 311.5    48.5    228.5 

       31      2    3 315.2*   44.8*   224.8*

       32      2    4 318.9    41.1    221.1 

       33      2    4 322.5*   37.5*   217.5*

       34      2    5 326.2    33.8    213.8 

       35      2    5 329.9    30.1    210.1 

       36      3    0 333.6    26.4    206.4 

       37      3    0 337.3*   22.7*   202.7*

       38      3    1 341.0    19.0    199.0 

       39      3    1 344.7*   15.3*   195.3*

       40      3    2 348.4    11.6    191.6 

       41      3    2 352.1*    7.9*   187.9*

       42      3    3 355.8     4.2    184.2 

       43      3    3 359.5*    0.5*   180.5*

       44      3    4   3.2   356.8    176.8 

       45      3    4   6.8*  353.2*   173.2*

       46      3    5  10.5   349.5    169.5 

       47      3    5  14.2   345.8    165.8 

       48      4    0  17.9   342.1    162.1 

       49      4    0  21.6*  338.4*   158.4*

       50      4    1  25.3   334.7    154.7 

       51      4    1  29.0*  331.0*   151.0*

       52      4    2  32.7   327.3    147.3 

       53      4    2  36.4*  323.6*   143.6*

       54      4    3  40.1   319.9    139.9 

       55      4    3  43.8*  316.2*   136.2*

       56      4    4  47.4   312.6    132.6 

       57      4    4  51.1*  308.9*   128.9*

       58      4    5  54.8   305.2    125.2 

       59      4    5  58.5   301.5    121.5 

       60      5    0  62.2   297.8    117.8 

       61      5    0  65.9*  294.1*   114.1*

       62      5    1  69.6   290.4    110.4 

       63      5    1  73.3*  286.7*   106.7*

       64      5    2  77.0   283.0    103.0 

       65      5    2  80.7*  279.3*    99.3*

       66      5    3  84.4   275.6     95.6 

       67      5    3  88.1*  271.9*    91.9*

       68      5    4  91.7   268.3     88.3 

       69      5    4  95.4*  264.6*    84.6*

       70      5    5  99.1   260.9     80.9 

       71      5    5 102.8   257.2     77.2 

       72      6    0 106.5   253.5     73.5 

       73      6    0 110.2*  249.8*    69.8*

       74      6    1 113.9   246.1     66.1 

       75      6    1 117.6*  242.4*    62.4*

       76      6    2 121.3   238.7     58.7 

       77      6    2 125.0*  235.0*    55.0*

       78      6    3 128.7   231.3     51.3 

       79      6    3 132.4*  227.6*    47.6*

       80      6    4 136.0   224.0     44.0 

       81      6    4 139.7*  220.3*    40.3*

       82      6    5 143.4   216.6     36.6 

       83      6    5 147.1   212.9     32.9 

       84      7    0 150.8   209.2     29.2 

       85      7    0 154.5*  205.5*    25.5*

       86      7    1 158.2   201.8     21.8 

       87      7    1 161.9*  198.1*    18.1*

       88      7    2 165.6   194.4     14.4 

       89      7    2 169.3*  190.7*    10.7*

       90      7    3 173.0   187.0      7.0 

       91      7    3 176.6*  183.4*     3.4*

       92      7    4 180.3   179.7    359.7 

       93      7    4 184.0*  176.0*   356.0*

       94      7    5 187.7   172.3    352.3 

       95      7    5 191.4   168.6    348.6 

       96      8    0 195.1   164.9    344.9 

       97      8    0 198.8   161.2    341.2 

Elevation angles:

     This list of GSE particle-velocity direction elevation angles (given in degrees above the eccliptic plane), for particles entering the 6 “pseudo detectors” that result from pairwise-binning the counts from the 12 actual detectors, is derived by pairwise-averaging the (known and fixed) values for the 12—resulting in 6 “center-angles”:

-26.55     -17.10      -7.34       7.63      17.10      26.53
(Note: not in detector-order.)

Reading new-mode strahl LZ data records:

     The file, swemode7.prt, from the ‘swedatlib’ directory contains a “map” of offsets into an LZ record array, allowing the count value for any detector, sector, energy-step and spectrum of the new mode strahl data to be correctly located in its LZ major-frame and stored for processing.  The procedure, mode7map.pro, in the same directory reads this file and stores information about where in each major-frame to locate all housekeeping, Faraday cup and strahl data.  The housekeeping (except for a previously-unused field, now storing a ‘mode7 indicator’) and Faraday cup data are unaffected, only the information read from the new-mode telemetry map is different from previous modes.  The ‘mode7 indicator’ is a byte which takes on the value ‘0’ (always has in the past) when a major-frame is not in “mode7”, and takes on the value ‘7’ when in that mode.

Spincounts, time-tags and null spectra:

     As described above, each s/c spin has an associated spincount value, and each major-frame has one time-tagged spin.  In general, the time-tags for each spectrum are defined by incrementing (or decrementing) the tagged time by the appropriate number of (calculated) spin-periods needed to account for the difference between the current spectrum’s spincount-begin value and the time-tagged spincount value.  There are two types of exceptions, which are accounted for in the code:

1) There was a rollover (from 255 to 0) in the spincount values.

2) The spincount-begin value (and all of the rest of the values in the current spectrum—including the second byte from the same spectrum-header) is 255.  This indicates a “null spectrum” where no counts were acculmulated (due to in-situ time limits).

Compressed counts to phase densities:

     To convert the log-compressed strahl level-zero counts into phase densities the definitions of the ‘efficiency’ and ‘geometry’ vectors from cts_f_strl.pro were revised to account for the pairwise binning of the detector counts:

efficiency = [0.75926, 0.75926, 0.75926, 0.82945, 0.82945, 0.82945]

geometry  = [(4.4349 + 5.4222), (6.1882 + 6.1182), (6.4422 + 6.5440),$

             (6.5149 + 6.2687), (5.9394 + 6.2334), (5.5779 + 4.5819)]

The change consisted of: taking efficiency values associated with the first-6 and last-6 detectors and associating them with the first-3 and last-3 of the 6 respective pseudo detectors; pairwise-summing (as above) the 12 geometric factors.  Finally—in the conversion itself, again due to the pairwise binning, 1 is subtracted from the log-compressed LZ record values, then these values are uncompressed and converted to phase densities in the same way as with previous modes (but using the above values).

6c. WGGS software modifications.

Modifications to routines/sub-applications of the WGGS tool (located at <tool>):

<tool>/swelz/lzinput.pro
Calling mode7map, calling proc_rec to find mode7 science record.
<tool>/swelz/proc_rec.pro
Determining if in new science mode, calling mode7 to read a record.

<tool>/swelz/swedatlib/mode7map.pro
Reading telemetry map for new-mode records.

<tool>/swelz/mode7.pro
Reading a new-mode LZ record, unpacking/storing new-mode data.

<tool>/swelz/cts_f_strl.pro
Converting new-mode, pairwise-binned counts into phase densities.

<tool>/widgets/swe_levelzero.pro
Recognizing new-mode data, providing new-mode interface.

<tool>/swelz/strl_newmode.pro
Sel. new-mode rec. prelim. proc., calling strl_phth_newmode.

<tool>/swelz/lztimrec.pro
Makes time-to-record/spectrum (instead of record/spin) conversion.

<tool>/swelz/strl_phth_newmode.pro

Display current spectrum of new-mode strahl data.

6d. Use and function of SWE levelzero display with new mode.

     See Appendix 3 for a detailed description of the use and function of the level-zero data interface widgets.  This section provides a brief description of the differences in using the interface with new-mode data.  There are several features which are “turned off” in the new-mode format, most of the remaining features behave as described in the appendix.

There are a few exceptions:

1) The ‘Spin’ button/field widget becomes the ‘Spectrum’ widget, but otherwise behaves the same.  Allows the user to increment display by one spectrum.

2) The ‘Plot-type’ droplist has been replaced by a ‘style’ droplist:

‘style 1’: The energies which make up a strahl spectrum are displayed in an “alternating” order which proceeds (in order of increasing energy) along each row before proceeding to the next.  This display-style is useful because it displays the full strahl energy range in each column.

‘style 2’: The energies are displayed in a “monotonic” order which proceeds (in order of increasing energy) down the left, then right, columns.  Energy-dispersion effects are more easily seen in this style.

     The new-mode strahl data display itself is to be interpreted in the following way.  The azimuth and elevation particle-velocity direction angles described above provide the absissa and ordinate, resp., for each plot-panel (displaying phase-densities for counts of particles at the labelled energies).  Each panel is overplotted with contours at the ¼-max and ½-max phase-density levels.  The ‘+’ and ‘-‘ symbols annotated on each plot-panel indicate the magnetic-field and anti-magnetic-field directions, resp.  The vertical dotted black lines in each sector (denoted by blocks of constant phase-density color) of each plot-panel, indicate the angles at which count-acculmulation actually began for that particle-energy, in that sector.  Finally, as a reference, the vertical solid white lines in each plot-panel mark the 0o and 180o (resp.) particle-velocity direction angles.

Appendix 1. How to start the WGGS tool and description of the startup procedure.

Installation of the WGGS tool.

The WGGS tool is packaged in the directory wggs00/ and its subdirectories. The latest version, where 00 designates version number, can be found as a tar file in the anonymous ftp site of the server machine leprjf:ftp/ftp/pub/exports/wggs00.tar. To install the tool, first copy wggs00.tar to the user machine and untar:



% tar xvf wggs00.tar

which creates the tool directory wggs00/ and its subdirectories.

Secondly copy the IDL startup procedure, wggs_startup.pro from the same leprjf ftp site to the user machine at the same directory level as wggs00/. The startup procedure includes the path to the most recent version of the WGGS  tool software as well as other data paths and the setting of environment variables. The startup procedure wggs_startup.pro contains documentation with instructions on how to tailor it to the user’s computer environment. The listing of the startup procedure is included in this appendix.

Thirdly, if this is a new installation, make sure that there is not a directory on the user machine named idlsav in the data path sav_dir , which can be found in a line near the beginning of wggs_startup.pro. A new idlsav directory will be created the first time the tool is used if a directory of that name does not already exist.

Running the WGGS tool.

The WGGS tool is now ready to run. The normal use of the WGGS tool begins with the start of an IDL session as follows:



% idl wggs_startup
where wggs_startup is the name of the startup procedure, wggs_startup.pro.  The WGGS tool is started by typing at the IDL prompt:

 
IDL>  wanal
which brings up the main Survey Data Display. 

Editing the startup procedure.

The listing of the startup procedure with line numbers follows on the next pages. The documentation included in the listing should guide the user as to what needs to be changed or updated. The lines 1 – 44 contain required user settings, lines 8, 10, and 12 being the most important. The lines 45 – 148 contain optional user settings, the most important being the data paths to the SWE level zero data and the survey data. These data paths may be direct paths to specific data directories or to mount points on the user’s machine.

Appendix 2. Use and Function of the Survey Data Display Widgets. 

The following is the documentation to explain the use and function of  all the widgets in the Survey Data Display which is available by clicking on the HELP button.  The buttons, fields, droplists, and labels appear here in bold type, e..g., the HELP  button, and to the right is a brief description of  the action caused by the respective widget event, such as clicking on a button. 

BUTTON/FIELD/DROPLIST     
ACTION

SWE level zero

Starts/brings forward SWE LZ Data Display.





Use this button rather than mouse button on window





to bring forward SWE LZ Data Display!

ISEEf



Starts/brings forward ISEE f DATA INTERFACE.





(ISEE moments MUST have already been read.)

Path                 

Displays the input (source) data paths for all of the various 





data types and permits changes to be made.

HELP



On-line documentation.

Quit



Normal exit.

Date/File


Toggle to File to select from a list of files.





Toggle to Date to automatically search files.

yyyymmd


Enter date (yymmd) for file search by date; the date





will also appear when file is manually selected.

Nr days


Select number of days for multiple day plot. 

swe_strahlen


Use the droplists which display the two energies to be 





displayed when data type swe_strahlen is selected. 

Button group SELECT input data types, then READ :

One or more data types (swe_moments etc) may be selected. The last selected data types are retained.

NOTE: When swe_moments are selected, swe_ionkp is automatically selected and overplotted on the electron plots.

READ



Click to read the data types last selected above.





The data interval read is the number of days selected 





above beginning with the selected date in yyyymmdd.  





After the data is read,a list of available data 





variables appears from which to make plot selections. 





(See Select plot variables button below.)



READ/PLOT sequence
A widget appears which permits data to be read and





plotted on sequential days with a single button click.





The data type will be the current data type selection,





and the plot variables will be those stored in the





selected plot variable buffer. 





(see Select plot variables button below)

Data version


Displays data versions of data types for which multiple





version exist. The default in all cases is Latest, 





but other versions may be selected.

Select plot variables
Widget AVAILABLE DATA appears. Select one or more data variables to plot. Button Do plot  plots the data.

Short cuts: After making a plot variable selection, it may be saved by clicking on one of Save X buttons, where X=0,1,2,3. The saved selection is then plotted by the corresponding Plot X button. The Save X buffers are not reset with a new IDL session, but rather are kept.





Default time interval plotted: entire file.





Special cases: For certain data types, additional 





plot parameter choices can be made, For example, when  





plotting strahl peak flux,the available energies also 





appear in the AVAILABLE DATA widget.

Change plot parameters
Widget CHANGE PRESET PLOT PARAMETERS appears.





Plot parameters such as y-axis range, i.e., Y min 





and Y max, yaxis labels, tick marks, etc can be 





altered from their default preset values for each panel





individually. Changes made here are retained during the





current IDL session. The "Y-axis" button described below





toggles the Y-axis range between the preset and min-max 





of the plotted variables for all panels.





The vertical size of each panel relative to the other





panels is displayed and can be changed. For example, a





given panel can be made twice as large as the rest. 


 




To select time intervals to plot:

The default time interval plotted is the entire file. To "zoom", i.e., to select a time subinterval to plot, click the left and middle mouse buttons at the begin and end times, respectively, of the desired interval. When the middle mouse button is clicked, a new widget pops up entitled, SELECTED TIME INTERVAL. These are the relevant  buttons in the pop-up widget: Click on Plot to plot the new time interval. The new time interval becomes the current time interval and is retained until a different time interval is selected.

Click on Store interval and plot to store any selected time interval to be kept for later recall even as the current interval changes. 

Button group Time interval
The currently selected variables can be plotted for various time intervals: 


Current
The current time interval. 



The current time selection may be replotted at any time. 



In particular, if program wanal is restarted in a given IDL 



session, data does not have to be reread, but rather the 



plot can be restored by clicking the Current button.

NOTE: Going back and forth between windows may sometimes cause plot controls to become "unset" and the tool may appear



unresponsive. Try clicking on Current or Original to reset.

Previous
The time interval selected prior to the last (current) 



selection is plotted.The current time selection still in memory.

Original     
The input time selection is plotted and becomes 



the new current selection. 

Stored

The time interval saved in memory for later recall.

Array reduction
To keep plot array sizes manageable, IDL library procedure congrid.pro reduces the array size using an interpolative method.




Use of congrid is the default. The droplist povides 




the option to turn off array reduction. When using the 




IDLsave button (described below) to create a file of




the plotted data, array reduction should be set to 




off to retain the full time resolution in the 




created data file.

Smooth
Median smoothing, 3, 5 or 10 points (0 is no smoothing).

Y-axis

Choices for the y axis scale are Preset (default) and Minmax.


The Preset values can be changed using button 



Change plot parameters. The original default preset values 



can be reset by using button Select plot variables and 



redoing the plot variable selection or using button 



Change plot parameters and clicking on Restore. 



These actions do not change the time interval. 

Time axis
The Selected time interval widget appears.

Hardcopy droplist:

Hrdcpy bw

Makes black and white hardcopy of current plot. 

Hrdcpy clr

Makes color hardcopy.

Printer/file

Pop-up widget displays and allows changes in names of




printer and printfile.

Color scale droplist:

Color tbl

IDL procedure xloadct.pro is used to display and/or modify




the color table (stretching etc).

Restore clrs

Current color table is restored  and the top color 





(plot axes, etc) is set to white. 

Application droplist:

WIND orbit

Plots the orbit for the current day.

Local Appl

Local user applications. Executes procedure 




local_appl.pro if it exists in directory specified by




LOCALUSER environment variable in startup file.

IDLsave

An IDL save file is made of the plotted data which may be 




retrieved by IDL restore (line plots only). It is adviseable 




to turn the array reduction FROM congrid TO off in order to 




retain full time resolution.




The saved data files may be accessed as follows:





".run idlsav_plot" to plot the data,





".run idlsave_to_ascii" to create an ascii file,





".run idlsave_to_ascii_cols" to create an ascii file




in column format.

Appendix 3. Use and Function of the SWE Levelzero Data Interface Widgets.

The following is the documentation to explain the use and function of  all the widgets in the SWE LZ Data Display which is available by clicking on the HELP button.  The buttons, fields, droplists, and labels appear here in bold type, e..g., the HELP  button, and to the right is a brief description of  the action caused by the respective widget event, such as clicking on a button. 

The top plot window contains one of survey plots from the parent widget. 

Which of the survey plot variables that is plotted here can be selected using the first droplist in the second row of buttons above the plot panel.

The three lower windows are available for distribution function plots at selected times.

The top row of buttons:

BUTTON/FIELD/DROPLIST     
ACTION

Parent            Returns to main or "parent" widget Survey Data Display. From Survey Data Display, click SWE level zero
to get back to this "child" widget.



NOTE: Use parent and child buttons to go back and forth 

                        between widget displays. Avoid using the windows mouse functions to 

                        bring windows forward. 

HELP

On-line documentation.

Quit

Normal termination.

Dates 

Droplist containing all dates for survey data read in. Any date



from this list may be selected and will be read when "Open LZ"



is clicked.

Open LZ
Opens SWE lz file, reads anciliary files,

 

orbit-attitude, 3sec magnetic field, sun glint mask,



VEIS background counts. Distribution function data can now



be plotted directly using data from the opened levelzero file,



as discussed below under "Ways to select time".

Veis data
Brings up the SWE VEIS Counts Data display widget 



which has its own HELP button.

Strahl data
Brings up the SWE Strahl Counts Data display widget 



which has its own HELP button.

Color adjustment droplist:

Xloadct
A widget pops up which allows adjustment of color



scale (stretching etc) or changing color table.

Restore colors

Current color table restored which also sets the 




top color (plot axes, etc) to white. 

Hardcopy droplist:




Hrdcpy bw

Makes black and white hardcopy of current plot. 

Hrdcpy clr

Makes color hardcopy.


Applications droplist:

Orbit


Window appears with orbit plot.

Display options
Pop-up window appears providing various information about 




and control of display options. A HELP button is included.

Scan LZ file

A new widget appears containing various instrument and 




data information from the telemetry record.




Save f


Makes an ASCII file of perpendicular and parallel cuts and 




reduced F vs parallel velocity, as well as the measured f




closest to parallel, anti-parallel, and perpendicular. 

The second row of buttons:

BUTTON/FIELD/DROPLIST     
ACTION
Droplist of survey plot variables. Choose one to plot in upper panel.

mode

The SWE/VEIS instrument mode is displayed: 1, 2, 4, or 6.

-------------------- Ways to select time: -----------------------------------------

There are several ways to select times for plotting distribution function data:

1. Click at desired time in the top panel (with left mouse button) and plot 

will appear in one of three bottom panels. Successive clicks on top panel will 

cause plots to cycle through the three bottom plot panels. 

(A vertical line at the selected time will appear in the upper panel).

2. Click on any of three bottom panels and the plot at currently selected time 

will appear.

3. Click on Spin "+" or "-" button or click on Mfrm (major frame=7 spins)

 "+" or "-" button to increment the time index; the plot at the newly 

selected time will appear. Successive clicks on "+" or "-" will cause plots to 

cycle through the three plot panels. The spin (mfrm) number will appear in the field

to the right.

4. Click on the "auto" button to cause three successive plots to appear, 

one in each window.

5. Enter time explicity into "hhmmss" field.

-------------------------------------------------------------------

Plot type droplist:

fcntrs


Contours of f on perpendicular-parallel velocity grid




with magnetic field direction along +vparallel.

f(en,pa)

Color-coded pitch angle distribution on 




energy-pitch angle grid.

fcuts


Parallel (solid line) and perpendicular (dashed

 

        
line) cuts of f and measure data sampled closest to 




magnetic field (+/-) direction (triangles). Dotted line is




one-count level.

redF


Reduced distribution.

f fcuts


Contours and cuts of f (default).

f F


Contours of f and reduced f. 

fsurface

Perspective 3-D contour map of f.

triangles

The triangulation mesh computed by triangulate.pro to help




show the validity of the platewise interpolation used




to do contouring.

fpolar


Contours of f on perpendicular-parallel velocity grid




with magnetic field direction along +vparallel.

vstps


Truncate the upper range of energy steps included in plots of f




by selecting a number less than 16.

pbin


Select the value of the pitch angle bin used for the data in 




making the polar plots of f, i.e., contours, etc.



Appendix 4. How the Survey Data Display Works.

This section is an introduction to the inner workings of the tool. A working knowledge of the IDL language would be helpful though not essential in reading it. The reader whose only interest is in using the tool may skip this section. It is intended for those readers who may be involved in setting up the tool or wish to adapt it, i.e., to access and plot a new data type or to add a new application for an existing data type.

The following are the names of the experiment data types currently accessed by the Survey Data Display:

IDL> print, d.datype

swe_moments



SWE VEIS electron moments

swe_fpitch



SWE VEIS electron pitch angle distributions

mfi_mag3s



MFI 3s magnetic field data

swe_ionkp



SWE Faraday cup solar wind ion data

mfi_magkp



MFI key parameter magnetic field data



swe_strahl



SWE strahl sensor data

isee_moments



ISEE-1 VES electron moments and distributions

wav_tnr



WAV 1m TNR data

swe_redfcuts



SWE reduced velocity distributions

wav_hrtnr



WAV high resolution TNR data

swe_strahlen



SWE strahl data at selected energies

wind_orbit



WIND orbit data

swe_fparaperp



SWE 60° pitch angle averages

wav_nekp



WAV key parameter electron density 

wav_nehr



WAV high resolution electron density

Data structure d.
The heart of the Survey Data Display functionality is the data structure d. It contains all that is necessary to read the selected input data, such as data paths, the input data itself, and all the parameters necessary for constructing and controlling the data display. The structure d is created automatically and is accessed by all parts of the program through the common block, common shared,d.  The structure d with the tag names NDVAR, DATYPE, etc is described below using the IDL language command, HELP,/STRUCTURE .  Explanatory notes are included to the right of only those tag names that are relevant to this introduction. Tag names of structure d which relate to the internal operation of the widget interface are not discussed. 

IDL> help,d

D (SHARED)      STRUCT    = -> <Anonymous> Array[1]

IDL> help,d,/str

   NDVAR           LONG                15

Number of  input data types

   DATYPE          STRING    Array[15]

Names of input data types


   DIR             STRING    Array[15]


Data path for each data type

   PATHENV         STRING    Array[15]

Data path environment variables

   FLTR            STRING    Array[15]

Data filename extensions

   FLNM            STRING    Array[15]

Data filename for each data type

   DATYPE_INPUT    INT       Array[15]

   WILABL          STRING    Array[15]

   PNLIST          STRUCT    -> <Anonymous> Array[1]



   NDX             LONG      Array[2, 15]       Begin and end indices of current time interval.

   NDX_ORIG        LONG      Array[2, 15]

   NDX_LAST        LONG      Array[2, 15]

   NDX_BUFF        LONG      Array[2, 15]

   NDX_BUFF2       LONG      Array[2, 15]

   NDX_STORED      LONG      Array[2, 15]

   PNL             STRUCT    -> <Anonymous> Array[174]

See below.

   PNLSEL          INT       Array[174]






   PNLSEL_LAST     INT       Array[174]

   WDATYPE         LONG      Array[174, 15]

   TIMSEL          STRING    'lz'

   XSCROLL         INT       Array[15]                       

   YSCROLL         INT       Array[15]

   BTTN            INT       Array[15]

   WITYPE          INT       Array[15]

   REFSEC          DOUBLE           0.0000000

The reference time used for all plots.

   MAXNUMBERDAYS   INT              4

   DATYPE_MULTIDAY STRING    Array[8]

If for example, the data types, swe_moments, swe_fpitch, and swe_strahl were selected as input data, then the following tags referencing the input data would be concatenated to the structure d:

   SWE_MDAT        STRUCT    -> <Anonymous> Array[12754]


   SWE_PDAT        STRUCT    -> <Anonymous> Array[12749]    

   SWE_STRAHLDAT   STRUCT    -> <Anonymous> Array[12749] 

Each of the 15 data types in the list, d.datype, has a corresponding list of variables available for plotting, and the variable lists for all data types are concatenated into a single list totaling 174 elements, each element being a plot variable name string. For each of the 174 plot variables, there is a set of plot control parameters, most of which correspond to standard keywords used in the IDL plot routines. The plot variable names, the corresponding data types, and plot control parameters are the tags of the structure, d.pnl, described below: 

IDL> help,d.pnl

<Expression>    STRUCT    = -> <Anonymous> Array[174]

IDL> help,d.pnl,/str

   DTP             STRING    ''


Data type of the plot variable, varname.

   VARNAME         STRING    ''


Plot variable name.

In this document, the term data type will always refer to the data  type name as given by d.pnl.dtp (or d.datype), and the term plot variable will always refer to the quantity to be plotted as given by d.pnl.varname. For example, a partial list of plot variables for the data type swe_moments  is ‘N density’, ‘T temperature’, ‘U flow speed’, etc. 

The remaining tags to d.pnl  are plot control parameters:

   YPNLP           FLOAT           0.00000

   ZTITLE          STRING    ''

   LABL            STRING    ''

   RANGE           FLOAT     Array[2]

   TICKS           INT              2

   MINOR           INT              5

   TICKV           FLOAT     Array[30]

   TICKNAME        STRING    Array[30]

   SUBTITLE        STRING    ''

   TMLABL          STRING    ''

   TMRANGE         DOUBLE    Array[2]

   TMTICKS         INT              2

   TMINOR          INT              5

   FILL            FLOAT      -1.00000e+31

   TMTICKV         DOUBLE    Array[30]

   TMTICKNAME      STRING    Array[30]

   PLOTIO          INT              0

   PSYM            INT              0

   SYMSIZE         FLOAT           1.00000                   

   OPLOT           INT              0

   OPLOTVAR        STRING    ''

   OLINESTYLE      INT              0

   OCOLOR          INT            225

   PLTYPE          STRING    ''

   ENINDX          INT              0

   INDX            INT              0

   XORY            INT              0

   EV_VAL          INT              0

   STEP            FLOAT           0.00000

   LZRANGE         FLOAT     Array[2, 2]

   CHARTHICK       FLOAT           1.00000

   CHARSIZE        FLOAT           1.15000

   HORIZLIN        FLOAT      -1.00000e+31

Having outlined the essential parts of the structure, d, its use in the program will be discussed. The following table  illustrates  a typical selection  of data variables to be plotted as a panel stack, beginning with the top panel:

Table 1.

  Panel      Data Type

Type index
     Data Variable

Variable Index

    i
d.datype(ityp(i))
ityp(i)

d.pnl(ivar(i)).varname

ivar(i)

    0    
swe_moments  
   
0

heat flux 


6             

    1
swe_fpitch

1

spin avg f(en,t)


45

    2
swe_fpitch

1

94.3



55

    3
swe_strahl

5

strahl energy spectrum

93

The data types and data variables are selected by the user from the widget interface using the names given in the second and fourth columns,respectively, of Table 1. The other columns in Table 1, i.e., the first, third, and fifth columns, are indices determined by the program corresponding to the user selection and are used in structure d to reference the data, transparent to the user. The data type indices (third column) are 

ityp = where(d.datype_input  ne  –1) = 0, 1, 5. 

The swe_strahl data structure corrsponding to ityp(3)=5, for example, is referenced as 

d.swe_strahldat( d.ndx(5,0): d.ndx(5,1) ).tag ,

where d.ndx(5,0): d.ndx(5,1) is the range of indices of the swe_strahl data for the selected time interval, and the tag represents an input data variable, such as time or flux. The plot variable indices (fifth column) are


ivar = d.pnlsel(where(d.pnlsel ne –1)) = 6, 45, 55, 93.

The parameters for controlling the strahl energy spectrum plot corresponding to ivar(3)=93 are referenced as d.pnl(93).tag (unless overridden in the plot procedure itself), where the tag represents a parameter such as the y-axis range.

Survey data directory structure.
All of the procedures pertaining to a specific data type are located in a single subdirectory whose name is the same as the data type. The directory structure for the currently available data types is

wggs00 /survey/:

swe_moments
/

swe_fpitch/


mfi_mag3s/



swe_ionkp/


mfi_magkp/


swe_strahl/




isee_moments/

wav_tnr/


swe_redfcuts/




wav_hrtnr/


swe_strahlen/


wind_orbit/




swe_fparaperp/

wav_nekp/


wav_nehr/





where wggs00/ is the top directory of the entire tool. Each data type subdirectory has a requisite set of procedures given by the following, where exp_dtyp represents one of the above data type names:

wggs00/survey/ exp_dtyp/:

exp_dtyp_list.pro


List of plot variables included in d.pnl.varname.

exp_dtyp_read.pro  


Reads the input data.

exp_dtyp_timerange.pro

Returns begin and end times of the data.

exp_dtyp_datatime.pro

Returns data time relative to reference time.

exp_dtyp_struct.pro
Returns plot parameters for each plot variable listed in exp_dtyp_list.pro.

exp_dtyp_plt.pro
Plots the data corresponding to the plot variable selected in the panel whose position in the stacked plot panels is determined by the order of selection.
exp_dtypvar.pro
Called by exp_dtyp_plt.pro, returns the actual data for each plot variable selected for the current time interval.

The above procedures must be tailored to to each specific exp_dtyp. These are the

minimun requisite procedures but subdirectory wggs00/survey / exp_dtyp / may include other procedures or functions to be called by any of the above to meet a specific requirement. For example, the data type swe_strahl requires procedures for making both line plots and images, and therefore, swe_strahl_plt.pro calls another procedure swe_strahl_spectrum_img.pro, which is also located in subdirectory,

 wggs00/survey / swe_strahl. The requirements for each of the requisite set of procedures under each wggs00/survey/exp_dtyp/ is given in Appendix 5, which discusses in detail how to expand WGGS to include new data sets. 

Survey data flow.
The following is the sequence of called procedures and widget actions necessary to select, read, and display a set of plot variables, represented by var, from a selected set of data types, represented by exp_dtyp.  In the following, Widget and Keyboard refer to user actions via the widget interface and keyboard, respectively, and the fully qualified procedure name, path/procedure.pro, refers to the automatic execution of the named procedure by the program.

Action / called procedure


Result
1) Keyboard: wanal



Starts the tool. 

  
wggs00/init/define_widgets.pro
Defines all widget interfaces.

wggs00/init/panelist.pro

Creates/initializes structure, d.

2) Widget: Enter begin date, nr. days 

3) Widget: Select data types, exp_dtyp
Stores data type selections, exp_dtyp.  

4) Widget: Read



Initiates data read-in.

  
wggs00/init/panelist.pro


Structure d is re-initialized.





wggs00/survey/input.pro

Data  type selections exp_dtyp are put into







d.datype_input.
Current data paths are searched for the selected data type files according to date.


exp_dtyp_read.pro


Data for data type exp_dtyp are read in and 







concatenated onto structure, d.






Common reference time is established.







Orbit and attitude data are read.

5) Widget: Select plot variables

wggs00/widgets/select_pltvar.pro
Plot variables, var, are selected.

6)  Widget: Do plot



Initiates the plot.


wggs00/survey/mstruct.pro

Plot parameters common to all panels stored







in appropriate tags of d.pnl.


wggs00/survey/exp_dtyp/ exp_dtyp_timerange.pro
Set time axis scale.

wggs00/survey/exp_dtyp/ exp_dtyp_struct.pro
Set y-axis and other plot parameters for each plot variable of set, var and 


stored in d.pnl. 

wggs00/survey/plt.pro  
Set the plot window coordinates for each panel.

wggs00/survey/exp_dtyp/ exp_dtyp_plt
Plot data corresponding to each    variable of set, var, in panel according to order of selection.

Appendix 5.  Expanding WGGS to Include New Survey Data Sets.

The WGGS tool can be readily adapted to include new survey data sets. These are the steps to follow:

1. Select a descriptive name for the data type of the form exp_dtyp, where exp represents a satellite or project and dtyp represents a specific experiment or source of the data.

2. Select names for the variables to be plotted represented here as the set var={var1, var2,…..}.  Note: The names of these variables must be unique among all datatype-variable-names.  This is because sometimes (internal to WGGS) these names are used as the only identifier of a time-series, and non-uniqueness could cause problems.

3. A subdirectory named exp_dtyp must be created under the directory wggs00/survey. A template subdirectory with the requisite files exists which should be copied and given the name selected in step 1. The subdirectory and its files with a brief description is as follows:

wggs00/survey/ exp_dtyp/:

exp_dtyp_list.pro


List of plot variables var.

exp_dtyp_read.pro  


Reads the input data.

exp_dtyp_timerange.pro

Returns begin and end times of the data.

exp_dtyp_datatime.pro

Returns data time relative to reference time.

exp_dtyp_struct.pro
Returns plot parameters for each plot variable listed in exp_dtyp_list.pro.

exp_dtyp_plt.pro
Plots the data corresponding to the selected plot variable.

exp_dtypvar.pro
Called by exp_dtyp_plt.pro, returns the actual data for each plot variable selected for the current time interval.

4. After naming the above directory with the name selected for new data type, each of 

the files may be readily modified by searching for the dummy data type name exp_dtyp wherever it occurs and substituting the selected data type name. Procedures exp_dtyp_list.pro, exp_dtyp_struct.pro, and exp_dtypvar.pro will also require searching for the dummy variable names var1,var2,…and substituting the actual plot variable names. The procedure exp_dtyp_struct.pro contains plot axis and other plot appearance parameters and must be modified to meet the user’s requirements. The procedure exp_dtyp_read.pro must also be specially modified to read the new data . The template exp_dtyp_read.pro contains all that is required and must be included, such as specific time formats, data index definition, and concatenation of structure d. 

5. The directory wggs00/survey/ exp_dtyp/ also contains two additional procedures which are not part of the actual directory for the new data type, but are included as templates for the two remaining procedures to be modified. They are panelist_illustrative_version.pro and startup_file_ illustrative_version.pro.  Follow the instructions in the documentation at the beginning of each file on how to modify. Then  replace (or modify)  the old wggs00/init/panelist.pro and your old startup file (located in the directory in which the IDL session is started) with the new versions.

6. Finally, be aware that—in some cases—there may be a need to (possibly with help from a SWE Data System developer) modify the following fileswhen adding new (or modifying old) data types: wggs00/survey/input.pro, wggs00/survey/get_flnm.pro and wggs00/survey/mstruct.pro.  This requires advanced understanding of IDL.

7. This completes the installation of the new survey data type. All of the functionality of the tool is now available to the new data type.

Appendix 6.  Relative gain balancing of VEIS detectors.

The six VEIS channeltrons have aged over time since the WIND launch with variable rates of degradation of detector response. The channeltron bias levels were raised periodically to counteract this natural aging process. In order to accurately compute the odd electron velocity moments such as the bulk flow velocity and heat flux vectors, it is necessary that the response of the six channeltrons be balanced relative to each other. To account for channeltron aging and changes in bias levels, the detectors were balanced on a regular basis, approximately once each five to ten days, and a set of  six gain factors were determined. The set of six factors were normalized to one of the detectors, which appeared to be most constant over time. These periodically determined gain factors were used to compute by interpolation a table of  gain factors, one set of six for each day, during the useful lifetime of the VEIS spectrometer, 1994 – 2002. This relative gain table is included within the tool and its application to the data is transparent to the user. The following is intended to document the gain balancing procedure and to serve as a guide should it be necessary to repeat the process.

The procedure for balancing the gains of the six VEIS detectors is outlined in the following steps. Graphical user interface names are given in italics, e.g., Survey Data Display, and widget buttons, fields, and droplists are in bold type, e..g., the  widget button,  SWE level zero.

1. Select a time period over which gain balancing is to be done, from 1-30 days, and plot the WIND plasma and magnetic field key parameters, Ni, Ui, B, (b, and (b in the Survey Data Display plot window. 

2. Select a day containing an approximately one hour interval in which Ni > 5 and (b is approximately 90( or 270(, if possible.

3. Click on the widget button SWE level zero in the Survey Data Display which causes the SWE LZ Data Display interface to appear.

4. In the SWE LZ Data Display, select the chosen date from the droplist and click on Open LZ. 

5. With the left mouse button, select a time causing a plot of f(v║, v┴) to appear.

6. Click VEIS data in the SWE LZ Data Display and the SWE Veis Counts Data interface will appear with the default plot, counts vs speed for each detector in sector 0. This is a display of raw counts for opposing pairs of detectors 0-5, 1-4, and 2-3. Sectors 0 through 5 can be displayed by incrementing Sect for the given spin and major frame. This plot is also created when Cts_step is clicked. 

7. Click Relative gain determination; Background in SWE Veis Counts Data and the Do counts average widget interface will appear.

8. In the the Do counts average interface, select a detector, 0 through 5, to which the computed gains of each detector is to be normalized by using the droplist labeled Normal detector. Select the detector which has been most stable over time with high counts.

9. Select the energy for which the pitch angle distributions for each detector are to be computed in the gain balancing procedure by using the droplist labeled Energy step (ev). Energy 29 eV is suggested.

10. Select which of the six detectors 0, 1, 2, 3, 4, and 5 are to be used in the gain balancing. If all six detectors were to have aproximately equal responses, than all six would be used. If one or two detectors were to have a severely diminished response compared to the rest, say down by a factor 10 or more, then those detectors should not be included in the gains determination. For example, if detectors 0 and 2 are not to be included, then select the set of detectors 1345 from the droplist labeled Pitch fit: Det’s. Gains will be computed using detectors 1, 3, 4, and 5 and normalized to the detector selected in step 8. Detectors 0 and 2 will be assigned a gain of 0 in the gains table for the purpose of identification, but the gain factors actually used for detectors 0 and 2 will be unity.

11. Click on Accumulate slctd spins (YES glint rmvd) which will sum the raw counts for each detector (included in step10) over 30 major frames or 210 spins beginning at the current record and spin.

12. Click on Pitch fit each detector, get rel gains. A new set of six plots, one for each detector, will appear in the plot window. Each plot contains the sum of counts vs pitch angle and the parabolic fit for the given detector as well as the parabolic fit to the total counts of all detectors (only for detectors included in step 10) vs pitch angle. The ratio of the pitch angle fit using all (included) detectors to the pitch angle fit of each detector individually is defined as the gain of the given detector. The gains are then normalized to the gain of the detector selected in step 8 and is printed in the command window. These are the factors by which the raw counts are multiplied to correct for imbalance in the detector set, which is primarily due to differing rates of aging of the channeltrons and changes in voltage bias levels of channeltrons that have been made at various times during the WIND mission to compensate  for diminishing response.

13. If satisfied with the computed gains, then click on Save relative gains which appends the relative gains and date to the file wggs00/swelz/swecal/gains/gainsrev/add_to_lib.ascii.

14. Repeat steps 2 through 13  for other dates in the survey plot (step 1). Choosing dates 3 to 6 days apart is suggested.

15. The next step is to use the gains for selected dates saved in step 13 to compute gains for each day in the selected time period using a fitting procedure within wggs00/swelz/swecal/gains/gainsrev/getrelgains_tblgen_after_19971027.pro. Add the time period over which the fit is to be made by editing  getrelgains_tblgen_after_19971027.pro (array date_range =), then run the procedure. A plot of the calculated input gains and the fitted gains will appear and a file of the fitted gains for each day will be created, both in ascii form and and as an IDL restore file. Add the time period (from the addition to the array date_range above) and the name of the IDL restore file to the appropriate else-if statement in wggs00/swelz/swecal/gains/gainsrev/getrelgains_tbl_flnm.pro. The ascii file provides a visual check of the daily gains table just created and the restore filename is returned by getrelgains_tbl_flnm.pro when referenced by date by wggs00/swelz/lzinput.pro. The restore file with the appropriate gains is read by lzinput.pro each time a level zero file for a new date is opened. 

16. The final step is to check the daily gains just determined. Display again the survey data for the original time interval in the Survey Data Display plot window and click on SWE level zero. On the SWE LZ Data Display, click on Open LZ for any of the dates plotted. Select a time causing a distribution function to be plotted and then click on Veis data to bring up the SWE Veis Counts Data. Click on f w/ new  patch  which will display a fitted gaussian patch over the thermal core portion of the measured distribution function. The new gains are used in the patch and are displayed in the widget field labeled Relative gain adjustment, Old. The density, temperature, and flow velocity magnitude, elevation, and azimuthal angles of the fitted gaussian are displayed in the plot window. (The patch is Adolfo Vinas’ standard  3D patch used in moments calulations and which uses data from all detectors and all sectors in a 3D gaussian fit. Certain detectors and sectors are not used in the fit depending on data quality and whether a particular detector or sector was included in the gain computation. Which detectors and sectors are used to compute patch is prescribed by the array of indices, swest.patch_include.) The criterion used for gains which balance the detectors reasonably well is that the flow velocity elevation angle should be between -30° and +30° of the ecliptic plane. 

Appendix 7.  Treatment of sun glint effects.

Soon after the WIND launch and onset of the operation of the SWE VEIS instrument, it became apparent that the measured electron spectra contained high count rates when certain detectors were either facing the Sun, or were facing a particular fixed direction relative to the Sun, and which were repeated with each spacecraft rotation. It was concluded that the extraneously high counts were due to sunlight penetrating certain detectors viewing the Sun directly, and in the case of one particular detector, from sunlight penetrating via a glancing reflection into the detector. This so-called “sun glint” had the effect on the VEIS distributions of appearing to show a constant high flux of electrons from the direction of the Sun. The solar wind electron heat flux, for example, would always appear to come from the Sun instead of being magnetic field aligned. The solution to the problem was to identify and remove the effects of the sun glint.

Three methods were utilized. One was to put the VEIS instrument into a mode in which it would only measure the background spectra and not the ambient electrons. The measurements at detector, energy sweep step, and sector samples that were contaminated by sun glint stood out prominently against the normal background. This formed an initial identification of sun-glint detector, energy sweep step, and sector samples to be used in subtracting background from the measured electron spectra. 

A second method of identification was to accumulate the differences in measured electron counts from opposing detectors for an extended period, usually one day, and plot the differences against sun phase angle of the measured sample. If there were no favored direction, it was assumed that the counts differences would average out to zero for the extended period. If the Sun were a favored direction then the differences would peak for measurements looking toward the Sun. The set of sun-glint detector, energy sweep step, and sector samples determined by this method were consistent with the set obtained by the first method.

A third method was used which was to visually inspect the spectral plots. Most of the sun-glint detector, energy sweep step, and sector samples from the first two methods were clearly identifiable, but not in every case. 

A sun glint map using the above methods was determined for a particular period, say one week to one month, applied to the data and electron moments were computed. The operational criteria for success in eliminating or minimizing the sun-glint effects was that the solar wind bulk flow velocity vector should lie within +/- 20 degrees of the ecliptic and that the solar wind heat flux vector should track with the magnetic field direction when there is a significant heat flux magnitude. It was found that the sun glint map could be effectively fine-tuned by adding to or subtracting from the sun glint map by inspection of  the spectral plots (method three above) and recomputing the moments velocity vector with the modified sun glint map. This method was applied during the early years of the WIND mission and a sun glint map was found to apply to nearly the whole mission. This indicates that the sun glint effects on the instrument were essentially constant over time and is consistent with the fact that the WIND attitude changed very little.

The application of the daily sun glint map is applied to the data transparent to the user. The sun-glint detector, energy sweep step, and sector samples are readily identified as highlighted points in the VEIS spectra vs electron speed which is the default plot in the SWE Veis Counts Data interface. Typically there are approximately 30 – 40 sun-glint detector, energy sweep step, and sector samples which are eliminated entirely, which is only about 5% - 7% of all the data samples collected in one spacecraft rotation.

Appendix  8.  Using strahl sensor observations of the Sun to recover WIND spin phase.

To date (December, 2001), there have been three high-flux solar proton events which disabled the Sun sensors on the Wind spacecraft. Normally the spacecraft X-axis is time-tagged by the spacecraft Sun sensor when the X-axis points to the Sun. When the Sun sensor becomes disabled , the spacecraft automatically generates a pseudo-sun pulse each 2.4 sec instead of the nominal 3s true spin period. However, the spin phase of the spacecraft X-axis is unknown at any of these 2.4s time tags. On-board processing keyed to the Sun pulse will therefore be out of phase, such as the spin phase sampled by the strahl sensor, which tracks with the on-board determined magnetic field. However, during each period of loss of the Sun pulse to date, the strahl sensor field of view frequently captured the Sun, providing the necessary spin phase information to compute spin period accurately. The procedure used for determining the true spin period during a no-sun pulse event is documented in procedure wggs00/swelz/nosunpuls_readlz.pro.

Appendix 9.  Processed SWE Data File Coverage of Years  1995 – 2002.
The graphs on the following pages show the processed SWE electron data coverage during the years 1995 through 2002. There are three primary survey data types, swe_moments, swe_fpitch, and swe_strahl, for which daily files exist. Days for which daily survey files exist are represented in black, missing data in white. Missing data may be due to several factors such as, the instrument not being in a science mode, poor data quality, or, in the case of swe_moments,  WIND not being in the solar wind. The storage location of these survey data files given in Chapter 4c and repeated below can be accessed publicly via anonymous ftp to leprjf:
swe_moments 

leprjf:/data7/swe/moments
leprjf:ftp/pub/swe1/swe/moments
swe_fpitch 

leprjf:/data9/swe/ptch
leprjf:ftp/pub/swe3/swe/ptch
swe_strahl 

leprjf:/data8/swe/strl

leprjf:ftp/pub/swe2/swe/strl
There are three primary data coverage summaries for swe_moments and are differentiated by the file name extension:

1) The first swe_moments data coverage bar chart includes only files with extension  _sv13.mom, which designate IDL restore files and version 13. These are considered to be the prime moments data set because the instrument was in mode 1, mode 4, or mode 6, and all data variables are considered reliable. This is the data set that has been archived in the NSSDC.

2) The second swe_moments data coverage bar chart adds instrument mode2, version 5 moments files with extension _v05.mom to the first summary of _sv13.mom files. Not all moments variables of the mode  2,  version 5 moments files are reliable due to sun glint contamination. The electron temperature and anisotropy should be reliable, but the heat flux is not reliable and should be used with caution. The VEIS instrument was in mode 2 for parts of 1995 and 1996.

3) The third swe_moments data coverage bar chart includes all the IDL binary version 13 files with extension _v13.mom that were processed. The IDL restore files with extension _sv13.mom are a subset of the _v13.mom files. Most of the _v13.mom files were converted to IDL restore files after visual inspection, but a few files were not converted because of questionable quality. 

1
1
16

